| Project: | «Project» |  |  |
| --- | --- | --- | --- |
| Project No.: | «Project No.» | Project leader: | «ProjectManager» |
| Site / Server-ID: | «Site» |  |  |
| Customer: | «Customer» |  |  |

General

| All software components operate together without "locking up" |  |
| --- | --- |
| Situations that deviate from normal operation can be solved without requiring the use of development tools |  |
| The authorizations for the various user groups have been setup and tested |  |
| External devices (scanners, operator panels) have been connected and tested |  |

Computer failure

| The server change to the substitute server (cold stand-by systems) has been tested |  |
| --- | --- |
| The server switch to the substitute server (hot stand-by systems) has been tested |  |
| The data areas are correctly initialized after reset, restart and power off of the PCs and PLCs |  |
| All programs continue to run correctly after reset, restart and power off |  |

Data storage

| All messages in the signaling system have a text (no longer any undefined messages) |  |
| --- | --- |
| There are no recording gaps for the measured value recordings |  |
| All reports and logs are complete and correctly printed/exported |  |
| The memory is adequate for all data in the required provision interval |  |
| The archiving of data to external media has been tested |  |
| At the end of the tests, there is just one current backup of the software |  |

Multilanguage capability / country setting

| All operator dialogs and user interfaces are displayed with the correct language |  |
| --- | --- |
| All text output fields have the correct language and the text is displayed fully |  |
| All messages in the signaling system are displayed in the correct language |  |
| The appropriate time zone is set on the computers |  |

Computer loading

| The CPU loading on the server is in the green range |  |
| --- | --- |
| Adequate memory reserve is available in the PC/PLC |  |
| All programs on the PC free their memory after the processing (no memory leakage) |  |
| No error entries in the Perror.log and in the PLC diagnostic log |  |

Additional requirements for tests with multiple computers that exchange data

| An interruption of the data connection does not impair the operation of the programs |  |
| --- | --- |
| Interruptions or faults in the data connection are signaled/recorded |  |
| The involved partners resume correctly the communication after an interruption |  |
| Incomplete data from the partner does not impair the operation of the programs |  |
| Missing data from the partner (timeout) does not impair the operation of the programs |  |
| All data connections to external partners have been tested |  |